## Slide 1: Future challenges in MAX-DOAS

## Slide 2: Retrieval of Trace Gas and Aerosol Vertical Profiles
Rel. Intensity
Intensity errors
O4 dSCDs
O4 errors
Aerosol Retrieval
Radiative Transfer Model
a priori aerosol profile
a priori covariance
Aerosol profile
Aerosol opt. properties
Retrieval covariance
Trace gas dSCDs
Trace gas errors
Trace Gas Retrieval
Radiative Transfer Model
a priori trace gas profile
a priori covariance
Trace Gas profile
Retrieval covariance
DOAS Analysis
Spectra

## Slide 3: Retrieval of Trace Gas and Aerosol Vertical Profiles - The future? -
Spectra from different viewing geometries
Retrieval Algorithm
<
Direct simulation of
Aerosol Scattering Model
Radiative Transfer Model
Trace gas profiles
Aerosol extinction profile
Aerosol size distribution
Aerosol refractive index
Measurement
Instrument properties
Viewing geometry
Wavelength range
Spectral resolution
Retrieval output
Optimisation
…
Spectral analysis & profile retrieval in a single step based on modelled radiances
Instrument Model

## Slide 4: The future: Reconstruction of 2D and 3D trace gas fields using tomographic MAX-DOAS

## Slide 5: Future Challenges in MAX-DOAS
Measurement concepts:
  Improved geometries (e.g., almucantar scans for aerosol microphysical properties)
  Tomographic measurements with several instruments (S. Li)
  Combination of MAX-DOAS with topographic target DOAS and/or active DOAS (R. Holla, M. Wenig)
  Polarimetric measurements (A. Hilboll, U. Frieß)
Profile Retrieval:
  Improved numerical concepts: Regularisation methods
  Retrieval of aerosol optical/microphysical properties
  Direct profile retrieval with spectra instead of SCDs as measurement vector (E. Spinei)
  Retrieval of cloud altitude (J. Nasse)
Information content:
  DOAS polynomial  Aerosols (T. Boesch)
  Ring effect  Aerosols [Wagner et al., 2009]
  Wavelength dependence of AMF  Horizontal distribution of trace gases [Ortega et al., 2015]
Spatial representativeness
  Which volume has been sampled?
  How to deal with horizontal inhomogeneities? (H. Takashima, J. Remmers, K. Bigge)
  Impact of (broken!) clouds?
  Best satellite validation strategy?
Spectroscopy:
  Vibrational Raman scattering (air & water) (J. Lampel)
  Accuracy and temperature dependence of absorption cross sections (H2O, O4) (I. Ortega, D. Pöhler, J. Lampel)
  Non-linearity effects (J. Pukite)
  New trace gases???
Instrumental concepts
  Movement compensation (L. Penth)
  New concepts for spectrometers and telescopes (U. Platt, I. Bruchkouski)
Red: Presentations at DOAS Workshop 2015